Desafio 2026

1. Project Overview

- Location: Westminster / Foxwood Hills, South Carolina

- Product: Single-family spec home (3 Bed / 2 Bath)

- Strategy: Build-to-sell

2. Key Measurements (Cost Model Inputs)

| Measurement | Value |
| --- | --- |
| Living Area | 1,522 sq ft |
| Garage | 533 sq ft |
| Roof Area | 2,724 sq ft |
| Exterior Perimeter | 204 ft |
| Interior Walls | 347 ft |
| Slab | 2,432 sq ft |
| Concrete (Slab) | 30 yd³ |
| Footings | 6.6 yd³ |
| Drywall | 6,246 sq ft |
| Windows | 10 |
| Interior Doors | 10 |
| Exterior Doors | 3 |
| Cabinets | 40 LF |
| Driveway | 500 sq ft |
| Lot Size | 12,707 sq ft |

3. Building Summary

Area Breakdown

| Area | Size |
| --- | --- |
| Living Area | 1,522 sq ft |
| Garage | 533 sq ft |
| Front Porch | ~120 sq ft |
| Outdoor Living / Patio | ~180 sq ft |

➡️ Total Roof Coverage: ~2,355 sq ft

Geometry

- Footprint: ~2,432 sq ft

- Exterior Walls: 204 LF

- Exterior Wall Area: ~1,836 sq ft

- Interior Walls: ~347 LF

- Drywall: ~6,246 sq ft

Structural Quantities

- Slab: 30 cubic yards

- Footings: 6.6 cubic yards

- Roof: 2,724 sq ft (~27 squares)

4. Systems & Components

Windows & Doors

- Windows: 10 (~150 sq ft total)

- Interior Doors: 10

- Exterior Doors: 3

- Garage Door: 16’ × 7’

Flooring (Total = 1,522 sq ft)

- Living: 280 sq ft

- Kitchen: 160 sq ft

- Dining: 150 sq ft

- Master: 220 sq ft

- Bed 2: 140 sq ft

- Bed 3: 140 sq ft

- Bathrooms: 120 sq ft

- Laundry: 60 sq ft

- Closets / Hallways: 252 sq ft

Cabinetry

➡️ ~40 linear ft

Plumbing

- Toilets: 2

- Sinks: 3

- Showers: 2

- Kitchen Sink: 1

- Water Heater: 1

Electrical

- Outlets: ~55

- Switches: ~25

- Light Fixtures: ~20

HVAC

- System: ~3 Ton AC

- Supply vents: 10

- Returns: 2

5. Exterior Flatwork

- Driveway: ~500 sq ft

- Walkway: ~120 sq ft

- Patio: ~180 sq ft

- Porch: ~120 sq ft

FINANCIAL ANALYSIS

6. Land Cost

➡️ $45,000

7. Hard Construction Cost (Updated)

House

1,522 × $130
➡️ $197,860

Garage

533 × $50
➡️ $26,650

Total Hard Construction

➡️ $224,510

8. Materials & Trade Benchmarks

Direct Materials

➡️ ~$36,000

Installed Packages

➡️ ~$43,400

Combined Visible Cost

➡️ ~$79,400

Additional Allowances

- Electrical: $8K – $10K

- Interior finishes / trim / paint: $18K – $28K

- Site / permits / supervision: $12K – $20K

➡️ All aligns with $130/sf total build cost

9. Soft Costs

➡️ ~$13,000

10. Contingency

➡️ $20,000

11. Carry & Closing

➡️ $12,000

12. Total Development Cost

| Category | Cost |
| --- | --- |
| Land | $45,000 |
| Hard Construction | $224,510 |
| Soft Costs | $13,000 |
| Contingency | $20,000 |
| Carry / Closing | $12,000 |

Total Project Cost

➡️ ≈ $314,500

SALE STRATEGY (ADJUSTED VALUE METHOD)

13. Adjusted Saleable Area

| Area | Size | Factor | Adjusted SF |
| --- | --- | --- | --- |
| Living Area | 1,522 | 100% | 1,522 |
| Garage | 533 | 40% | 213 |
| Porch | 120 | 50% | 60 |
| Patio | 180 | 60% | 108 |

Total Adjusted Area

➡️ 1,903 sq ft

14. Sale Price Calculation

1,903 × $255
➡️ $485,265 (theoretical value)

15. Market-Based Pricing Strategy

Realistic pricing (market-adjusted):

➡️ $395,000 – $430,000

16. Profit Analysis

Conservative

- Sale: $395,000
➡️ Profit: ~$80,500

Realistic

- Sale: $410,000
➡️ Profit: ~$95,500

Strong Execution

- Sale: $425,000
➡️ Profit: ~$110,500

17. Margin

➡️ 25% – 35% range